## Slide 1: I/A On-site systems & BoH responsibilities

## Slide 2: Alyssa Rusiecki, RS Environmental Health & Safety Email – arusiecki@umass.edu Office – 413-545-5110

## Slide 3
IA AI
EH&S Rusiecki September 8, 2023

## Slide 4: Conventional System
EH&S September 8, 2023
Epa.gov

## Slide 5: IA – Innovative Alternative Systems
Most common – Secondary Treatment Device
Works in tandem with a conventional system
Or, advanced components for primary, secondary, & tertiary units
EH&S Rusiecki September 8, 2023

## Slide 6: MA DEP Resources
Mass.gov
EH&S Rusiecki September 8, 2023

## Slide 7: MA DEP Resources
Mass.gov con’t.
EH&S Rusiecki September 8, 2023

## Slide 8: MA DEP Resources
Mass.gov con’t.
EH&S Rusiecki September 2023

## Slide 9: MA DEP Resources
Mass.gov con’t.
EH&S Rusiecki September 2023

## Slide 10: MA DEP Resources
Mass.gov con’t.
General use
Remedial use
Nitrogen removal credits
EH&S Rusiecki September 2023

## Slide 11: MA DEP Resources
Mass.gov con’t.
Remedial Use
Secondary Treatment Devices
Alternate SAS’s
EH&S Rusiecki September 8, 2023

## Slide 12: MA DEP Resources
Mass.gov con’t.
Technology Chart
EH&S Rusiecki September 8, 2023

## Slide 13: MA DEP Resources
Mass.gov con’t.
Secondary Treatment Units –
Standard Conditions
For Remedial Use
EH&S Rusiecki September 8, 2023

## Slide 14: MA DEP Resources
Mass.gov con’t.
Standard Conditions Letter
EH&S Rusiecki September 8, 2023

## Slide 15: MA DEP Resources
Mass.gov con’t.
Standard Conditions Letter
EH&S Rusiecki September 8, 2023

## Slide 16: MA DEP Resources
Review
Technology Approval Letter
General or Remedial
Alternate Soil Absorption Systems or Secondary Treatment Units
Approval up to date
Additional
  Installation Instructions
  Illustration
  Operation & Maintenance Checklist
EH&S Rusiecki September 8, 2023

## Slide 17: MA DEP Resources
Mass.gov con’t.
Approval Letters
EH&S Rusiecki September 8, 2023

## Slide 18: Standard Conditions Letter
Review
Standard Conditions Letter
General or Remedial
Alternate Soil Absorption Systems or Secondary Treatment Units
EH&S Rusiecki September 8, 2023

## Slide 19: Standard Conditions Letter
Discusses Operational Details
Disclosures, deed notices, certifications
Contract with an O & M provider
Requirements for sampling, reporting
Notice of failure
Pumping above the high-level alarm
System Owner acknowledgements
EHS Rusiecki September 8, 2023

## Slide 20: Technology Approval Letter
Discusses Technical Details
Specific to the technology, i.e. soils, spacing, horizon location
Operational details, i.e. Timed dosing, backwashing cycle
Installation details
Conditions applicable to owner
Conditions application to company
EH&S Rusiecki September 8, 2023

## Slide 21: Proprietary vs. Generic Approvals
Proprietary = Technology specific
Generic
  Bottomless Sand Filters (RI DEM)
  Recirculating Sand Filters
  Composting Toilets
EH&S Rusiecki September 8, 2023

## Slide 22: Various secondary treatment units with pressure distribution SAS final dispersal
Numerous approved I/A secondary treatment units
  Advantex, Amphidrome, Bioclere, Busse-MA, Clean Solution, FujiClean, Hoot, JetBat, Low-Rate ISF, MicroFAST, ModularFAST, Perc-Rite, Puraflow, SeptiTech, Singulair BioKinetic
  Restoration – Aerobic recovery system, SepTech Pirana, Soilair, Sludgehammer
  Both – Perc-Rite
Alternate SASs
  Eljen, GeoMat, Presby, Simple-Septic Wastewater System
  Both – Perc-Rite
EH&S Rusiecki September 8, 2023

## Slide 23: Remedial Use vs Local Upgrade Approval
Allowable to combine, but not stack major “variance” requests
At the Board of Health’s discretion
  Certain criteria requires a hearing
  Use the “variance” request framework
EH&S Rusiecki September 8, 2023

## Slide 24: Plan Review & Document Submittal
Compliance with 310 CMR 15.000
Technology approval letter details
Standard Conditions letter requirements
Write a letter of review, citing deficiencies, state the date of submittal,
Document in tracking database
EH&S Rusiecki September 8, 2023

## Slide 25: Plan Review Tracking
EHS Rusiecki September 8, 2023

## Slide 26: Letter sample
EH&S Rusiecki September 8, 2023

## Slide 27: Installation Inspection & Details
Fill requirements,
Elevation & cover requirements
SAS - gravity feed w D-Box, or
SAS – pressure distribution
Pumps, floats, alarms
Control panels
EH&S Rusiecki September 8, 2023

## Slide 28: Installation SAS inspection
Clear water test
Pump/alarm operation
D-Box connections, if applicable
Unit operation
Pressure, squirt height
Bedding, cover, slope requirements
EH&S Rusiecki September 8, 2023

## Slide 29: Installation Inspection con’t.
Pump Inspection
EH&S Rusiecki September 8, 2023

## Slide 30: Installation SAS inspection
Alternative SAS requirements
Pressure distribution
  Manifold
  Laterals
  Elevation
  Orifice direction, covers
  Distal pressure
  Equal pressure, inspecting, cleaning
EH&S Rusiecki September 8, 2023

## Slide 31: Installation inspection, orifice shields
EH&S Rusiecki September 8, 2023

## Slide 32: Installation inspection, shields
EH&S Rusiecki September 8, 2023

## Slide 33: Pressure Distribution
Distal Pressure test and Landscape covers
EH&S Rusiecki September 8, 2023

## Slide 34: Pressure Distribution
Squirt test – No more than 10% variation, distal end
EH&S Rusiecki September 8, 2023

## Slide 35: Pressure Distribution
Modify distal ends for squirt height
EH&S Rusiecki September 8, 2023

## Slide 36: Installation SAS inspection - PD
EH&S Rusiecki September 8, 2023

## Slide 37: Installation Documentation
Sand Fill certification (T5 vs. c-33, or other)
Aggregate certification
Impervious barrier specifications
Electrician
Take measurements, elevations
Record the PD squirt height
Photograph all features before backfill
Ask the designer to explain the process
EH&S Rusiecki September 8, 2023

## Slide 38: Photograph installation components, etc.
Overall conditions
Orientation of components
EH&S Rusiecki September 8, 2023

## Slide 39: Once backfilled…MHs look all the same
EH&S Rusiecki September 8, 2023

## Slide 40: As-Built submittal
As-Built reflects any approved minor differences
As-Built shows distances (“swing ties”)
As-Built is submitted with an updated Operations Manual
  Time-dosed or
  On-Demand
  Alarm events, visual, audio, telemetric? PD Baseline
Name & phone number of O&M contractor
Evidence of recorded documents at Registry of Deeds (‘being clause” – property reference)
EH&S Rusiecki September 8, 2023

## Slide 41: O & M Follow-up
Ensure a current O & M contract, renewable w/term
Name, address, phone number for O & M contractor
Contract states regular visits, testing type and frequency, and emergency on-call visits
Receipt of routine/event inspection report
Track minimum visits are done, with reports received (Remedial – by January 31st)
EH&S Rusiecki September 8, 2023

## Slide 42: DEP O & M form
EH&S Rusiecki September 8, 2023

## Slide 43: As-Built Package for Homeowners
CoC
Letter of approval with conditions
3. Photos
Pertinent documents, O&M, etc.
EH&S Rusiecki September 8, 2023

## Slide 44: BoH O & M Follow-up
Enter data into a database*
Track routine inspections & alarm events
Ensure minimum visits are done, with reports received (Remedial – by January 31st)
Follow-up deficiencies with calls to O & M provider
Email or letters to owner
*Barnstable County database, masstc.org
EH&S Rusiecki September 8, 2023

## Slide 45: Yankee On-site Wastewater Association https://www.yankeeonsite.org/membership/

## Slide 46
QUESTIONS & ANSWERS